SECTION 01321 – ULTRA-HIGH LIGHT-SENSENTIVE STREAMING CONSTRUCTION CAMERA SYSTEM (4K)

PART 1 - GENERAL

1.01 SUMMARY

- Section Includes:  Construction camera system to include live streaming video, archived photos, and time-lapse videos of project site during construction duration.

- Products and services supplied by System Vendor and installed under this Section:

  - Streaming Construction Camera.  Includes all-weather camera with 4G LTE cellular modem, power supply and mounting brackets.

  - Hosting Services:

    - Ability to view live video stream from construction camera from Internet connected devices.

    - Automatic capture and storage of jobsite photos from construction camera, viewable from Internet connected devices.

    - On-demand time-lapse movies

    - Edited project-end time-lapse movie

- Products supplied and installed by Contractor:

  - 120v AC power at camera mounting location or solar power kit

  - Poles, foundation systems and guy systems for camera mounting

- Related Sections:

  - Project Management and Coordination Section for administrative requirements for coordination and project meetings.

  - Construction Progress Documentation Section for reports

  - Photographic Documentation Section for project pictures

  - Quality Requirements Section for Special Inspections

  - Temporary Facilities Section for temporary telephone or broadband utilities and security

  - Division 16 Sections for 120v AC power

  - All equipment shall be covered under Owner’s and Contractor’s project insurance policies

1.02 SUBMITTALS

- Reference Submittal Procedures Section to submit the following items:

- System Vendor shall submit product data for ultra-high light-sensitive streaming construction camera and hosting services.

- Architect shall provide project site plan showing proposed mounting location for remote control camera.

1.03 QUALITY ASSURANCE

- Overall Standards:

- Contractor shall maintain quality control program on all equipment.

- System Vendor Qualifications:

- Experience in producing construction camera systems of the type specified.

1.04 DELIVERY, STORAGE, AND HANDLING

Follow System Vendor’s instructions.  All freight shall be included in Contract Price.

1.05 WARRANTY

- Time Period: System Vendor’s lifetime warranty.

- Conditions: System Vendor’s standard warranty conditions.

1.06 CONTRACTOR'S INSTRUCTIONS

- Maintenance and Testing:

- Clean window of camera enclosure as required.

- Power cycle communication modem/router as required.

- Project Closeout:

- Contractor shall notify System Vendor 14 days prior to the project’s completion.

- Contractor shall remove camera system.  Contractor shall carefully package system and ship to destination as directed by Owner (if purchased by Owner) or to System Vendor (if leased).

- All freight shall be included in Contract Price.

PART 2 - PRODUCTS

2.01 SYSTEM VENDOR

A.   iBEAM Construction Cameras

5320 W Morris Hill Rd

Boise, Idaho  83706

Tel: 	(800)403.0688   (208) 344.8002

E-mail:	sales@ibeamsystems.com

Web site:	http://www.ibeamsystems.com

B.   Approved Equal as determined by the Architect.

2.02 PERFORMANCE REQUIREMENTS

- Streaming Construction Camera

- Streaming web camera

  - 3840x2160 (network), 1920x1080 (cellular) live image stream

  - 4/3” back-illuminated color CMOS sensor, 10 megapixels

  - Auto focus

  - Auto day/night mode

  - Canon 12-48mm lens with fish-eye correction and 90° horizontal field of view

  - Camera access restrictions

- IP66- and NEMA 4X-rated casing

- Pole mounting bracket

- Operating temperature:  -22ºF to 122ºF

- Hosting Services

- Project photos shall be captured daily at 10-minute increments throughout a designated 12-hour time period

  - 3840x2160 pixels (8.3 megapixels), 16:9 widescreen aspect ratio

  - JPEG format

  - Date/time stamp

- Project photos shall be uploaded to and stored on a distributed cloud server

- Web-based access to archived photos

  - Password protected access

  - Photos searchable by date and time

  - 500% zoom magnification

  - Download, print and email capability

  - Link to live camera

- Web-based access to live video stream

  - Password protected access

- Web-based access to time-lapse movies

  - Password protected access

  - User can indicate date and time range of time-lapse movie

  - User can indicate speed of movie

  - Downloadable in .mp4 format

    - Include timestamps

    - 4K Ultra HD, 1080p HD and 720p HD resolution

- System Vendor shall provide an edited and post-processed start-to-finish 4K Ultra HD time-lapse movie in .mp4 format at end of project

- Cellular data service shall be provided by System Vendor

- Customer shall retain all copyrights to project photos and time-lapse movies

2.03 COMPONENTS

- Ultra-High Light-Sensitive Streaming Construction Camera shall be an iBEAM Fixed 4K Premier Construction Camera or approved equal

- Hosting services shall be iBEAM hosting service as developed by iBEAM Construction Cameras or approved equal.

PART 3 - EXECUTION

3.01 INSTALLATION

- Contractor shall install Construction Camera system in accordance with System Vendor’s installation instructions.

- Position Construction Camera system for optimal view of project accounting for terrain, vegetation, and construction phases.

- Contractor shall provide all necessary permits, licenses and inspections.

3.02 FIELD QUALITY CONTROL

- Contractor shall test Camera system in accordance with System Vendor’s startup test procedures.

- Contractor shall maintain all components in good condition.

3.03 EXAMINATION

- Contractor shall periodically examine camera enclosure window to insure optical clarity.

3.04 CLEANING

- Reference System Vendor’s cleaning recommendations.

END OF SECTION 01321