SECTION 01324 - TIME-LAPSE CONSTRUCTION CAMERA SYSTEM

PART 1 - GENERAL

1.01 SUMMARY

- Section Includes:  Construction camera system to include photo archive and high definition time-lapse movies during construction duration.

- Products and services supplied by System Vendor under this Section:

  - Time-lapse Construction Camera.  Includes camera, 4G LTE cellular modem, all-weather enclosure, power supply and mounting bracket.

  - Hosting Services.

    - Automatic capture and storage of job site photos from construction camera, viewable from Internet connected devices.

    - Online time-lapse movies

    - Edited project-end time-lapse movie

- Products supplied and installed by Contractor:

  - 120 VAC power at camera location

  - Poles, foundation systems and guy systems for camera mounting

- Related Sections:

  - Construction Progress Documentation Section for reports

  - Photographic Documentation Section for project pictures

  - Quality Requirements Section for Special Inspections

  - Division 16 Sections for 120v AC power

  - All equipment shall be covered under Owner’s and Contractor’s project insurance policies

1.02 SUBMITTALS

- Reference Submittal Procedures Section to submit the following items:

- System Vendor shall submit product data for time-lapse camera

- Architect shall provide project site plan showing proposed camera  location

1.03 QUALITY ASSURANCE

- Overall Standards:

- Contractor shall maintain quality control program on all equipment.

- System Vendor Qualifications:

- Experience in producing construction camera systems of the type specified.

1.04 DELIVERY, STORAGE, AND HANDLING

Follow System Vendor’s instructions.  All freight shall be included in Contract Price.

1.05 WARRANTY

- Time Period: System Vendor’s lifetime warranty.

- Conditions: System Vendor’s standard warranty conditions.

1.06 CONTRACTOR'S INSTRUCTIONS

- Maintenance and Testing:

- Clean housing lens of camera as required.

- Project Closeout:

- Contractor shall notify System Vendor 14 days prior to the project’s completion.

- Contractor shall remove time-lapse camera and enclosure.  Contractor shall carefully package system and ship to destination as directed by Owner (if purchased by Owner) or to System Vendor (if leased).

- All freight shall be included in Contract Price.

PART 2 -  PRODUCTS

2.01 SYSTEM VENDOR

A.   iBEAM Construction Cameras

5318 W Morris Hill Rd

Boise, Idaho  83706

Tel: 	(800)403.0688   (208) 344.8002

Fax:	              (208)286.4552

E-mail:	sales@ibeamsystems.com

Web site:	http://www.ibeamsystems.com

B.   Approved Equal as determined by the Architect.

2.02 PERFORMANCE REQUIREMENTS

- Time-lapse Construction Camera

- Computer-controlled digital time-lapse camera

  - Digital SLR type camera

  - Minimum sensor size 18 megapixels

  - Minimum horizontal viewing angle 65.5º [Optional 95º]

- 4G cellular modem with high-gain antenna

- Die-cast, extruded, and sheet aluminum enclosure with 0.25-inch (6.35 mm) thick Lexan viewing window

- Operating temperature:  -4ºF to +140ºF

- Notifications: automated power loss notification by email

- Hosting Services

- Project photos shall be captured daily at 10 minute increments during work hours

  - 3840x2160 pixels (8.3 megapixels), 16:9 widescreen aspect ratio

[Optional] 5160x2904 (15 megapixels), 16:9 widescreen aspect ratio

[Optional] 4896 x 3672 (18 megapixels), 4:3 full screen aspect ratio

  - JPEG format

  - Date/time stamp

- Project photos shall be uploaded to and stored on a distributed cloud server

- Project photos shall be viewable online

  - Password protected access

  - Photos searchable by date and time

  - 500% zoom magnification

  - Download, print and email capability

- Web-based access to time-lapse movies

  - Password protected access

  - User can indicate date and time range of time lapse movie

  - User can indicate speed of movie

  - Downloadable in .mp4 format

    - Include timestamps

    - 4K Ultra HD, 1080p HD and 720p HD resolution

- System Vendor shall provide an edited and post-processed start-to-finish 4K Ultra HD time-lapse movie in .mp4 format at end of project

- Cellular data service shall be provided by System Vendor

- Customer shall retain all copyrights to project photos and time-lapse movies

2.03 COMPONENTS

- Time-lapse Construction Camera shall be an iBEAM Time-Lapse Pro Construction Camera or approved equal

- Hosting services shall be iBEAM hosting service as developed by iBEAM Systems, Inc. or approved equal.

PART 3 - EXECUTION

3.01 INSTALLATION

- Install Construction Camera in accordance with System Vendor’s installation instructions.

- Position for optimal view of project accounting for terrain, vegetation, and construction phases.

- Contractor shall provide all necessary permits, licenses and inspections

3.02 FIELD QUALITY CONTROL

- Field Test: Contractor shall test camera in accordance with System Vendor’s startup test procedures.

- Contractor shall maintain all components in good condition.

3.03 EXAMINATION

- Periodically examine camera enclosure viewing window to insure optical clarity

3.04 CLEANING

- Reference System Vendor’s cleaning recommendations.

END OF SECTION 01324